## Overview concepts
Search concepts
A. Detection and analysis of the virus in samples:
1. The sampling of the virus in the environment and from surfaces or from the patient and the preparation of the sample by filtration
2. The analysis of the sample by specific devices, PCR equipment, lab-on-a-chip, automator, spectrometry
3. Microscopy
B. Devices for diagnostics in vivo or on the patient
1. Imaging, Tomography, X-rays, Ultrasounds, Endoscopy
2. Auscultation and measurement on the patient, Medical diagnostics devices (oximeters, sense of smell, temperature sensors)
C. Image processing for supporting diagnostics
1. Computer implemented analysis of the images obtained by microscopy or on the body
2. Image processing and generation

## A.1 Sampling and sample prep.
Concept A.1: Sampling of the virus in the environment and from surfaces or from the patient and the preparation of the sample by filtration | Description | Classification-based search concepts | Keyword-based search concepts | Sample search in Espacenet
Sampling virus in the environment | Sampling virus from surfaces or from the air; investigating particle size, size distribution or particle concentration | CPC/IPC: G01N1/02 : Device for withdrawing samples CPC/IPC: G01N2001/028: Sampling from a surface, swabbing, vaporizing CPC/IPC: G01N1/22 and subclasses: Sampling in the gasuous state CPC/IPC: G01N1/2273 and subclasses: Atmospheric sampling CPC/IPC: G01N15/02 and subclasses: Investigating particle size or size distribution CPC/IPC: G01N15/06 and subclasses: Investigating concentration of particle suspensions CPC/IPC: G01N2015/0046: Investigating dispersion of solids in gas | virus | https://worldwide.espacenet.com/patent/search?q=%28ctxt%20%3D%20%22viral%2A%22%20OR%20ctxt%20%3D%20%22virus%2A%22%29%20AND%20%28cl%20%3D%2Flow%20%22G01N1%2F02%22%20OR%20cl%20%3D%2Flow%20%22G01N1%2F22%22%20OR%20%28%28cl%20%3D%20%22G01N15%2F02%2Flow%22%20OR%20cl%20%3D%20%22G01N15%2F06%2Flow%22%29%20AND%20cpc%20%3D%20%22G01N2015%2F0046%2Flow%22%29%29
Sampling coronavirus in the environment | Sampling coronavirus from surfaces or from the air; investigating particle size, size distribution or particle concentration | CPC/IPC: G01N1/02 : Device for withdrawing samples CPC/IPC: G01N2001/028: Sampling from a surface, swabbing, vaporizing CPC/IPC: G01N1/22 and subclasses: Sampling in the gasuous state CPC/IPC: G01N1/2273 and subclasses: Atmospheric sampling CPC/IPC: G01N15/02 and subclasses: Investigating particle size or size distribution CPC/IPC: G01N15/06 and subclasses: Investigating concentration of particle suspensions CPC/IPC: G01N2015/0046: Investigating dispersion of solids in gas | coronavirus, orthocoronavirus, betacoronavirus, sarbecovirus, "severe acute respiratory syndrome", sars, covid | https://worldwide.espacenet.com/patent/search?q=%28ftxt%3D%28%22corona%22%20prox%2Fdistance%3C1%20%22vir%2A%22%29%20OR%20ftxt%20any%20%22coronavir%2A%20%20orthocoronavir%2A%20%20betacoronavir%2A%20%20sarbecovir%2A%20sars%20covid%2A%22%20OR%20ftxt%3D%28%22respiratory%22%20prox%2Fdistance%3C1%20%22syndrom%2A%22%29%29%20AND%20%28cl%20%3D%20%22G01N1%2F02%2Flow%22%20OR%20cl%20%3D%20%22G01N1%2F22%2Flow%22%20OR%20%28%28cl%20%3D%20%22G01N15%2F02%2Flow%22%20OR%20cl%20%3D%20%22G01N15%2F06%2Flow%22%29%20AND%20cpc%20%3D%20%22G01N2015%2F0046%2Flow%22%29%29
Sampling coronavirus from surfaces |  | CPC/IPC: G01N1/02 : Device for withdrawing samples CPC/IPC: G01N2001/028: Sampling from a surface, swabbing, vaporizing | coronavirus, orthocoronavirus, betacoronavirus, sarbecovirus, "severe acute respiratory syndrome", sars, covid | https://worldwide.espacenet.com/patent/search?q=%28ftxt%3D%28%22corona%22%20prox%2Fdistance%3C1%20%22vir%2A%22%29%20OR%20ftxt%20any%20%22coronavir%2A%20orthocoronavir%2A%20betacoronavir%2A%20sarbecovir%2A%20sars%20%20covid%2A%22%20OR%20ftxt%3D%28%22respiratory%22%20prox%2Fdistance%3C1%20%22syndrom%2A%22%29%29%20AND%20cl%20%3D%20%22G01N1%2F02%2Flow%22
Sampling coronavirus from the air; Investigating size, size distribution or concentration |  | CPC/IPC: G01N1/22 and subclasses: Sampling in the gasuous state CPC/IPC: G01N1/2273 and subclasses: Atmospheric sampling CPC/IPC: G01N15/02 and subclasses: Investigating particle size or size distribution CPC/IPC: G01N15/06 and subclasses: Investigating concentration of particle suspensions CPC/IPC: G01N2015/0046: Investigating dispersion of solids in gas | coronavirus, orthocoronavirus, betacoronavirus, sarbecovirus, "severe acute respiratory syndrome", sars, covid | https://worldwide.espacenet.com/patent/search?q=%28ftxt%3D%28%22corona%22%20prox%2Fdistance%3C1%20%22vir%2A%22%29%20OR%20ftxt%20any%20%22coronavir%2A%20%20orthocoronavir%2A%20betacoronavir%2A%20sarbecovir%2A%20sars%20covid%2A%22%20OR%20ftxt%3D%28%22respiratory%22%20prox%2Fdistance%3C1%20%22syndrom%2A%22%29%29%20AND%20%28cl%20%3D%20%22G01N1%2F22%2Flow%22%20OR%20%28%28cl%20%3D%20%22G01N15%2F02%2Flow%22%20OR%20cl%20%3D%20%22G01N15%2F06%2Flow%22%29%20AND%20cpc%20%3D%20%22G01N2015%2F0046%2Flow%22%29%29
COMMENT: These classes contain many general purpose methods and apparatus many of which are suitable for detecting corona virus, even if they do not explicitly mention the virus explicitly. By limiting the documents in these classes to documents that explicitly mention the corona virus, a more relevant set of documents can be obtained, but it is not complete.
Virus filtration | Filtration of viruses | CPC: B01D61/145 - ultrafiltration CPC: B01D61/147 - microfiltration CPC: C12N and subclasses | (S#PAR*, FILTER*, FILTR* , TRAP* , MEMBRAN*, RETAIN*, ABSOR*, CATCH*, SCREEN*) and (VIRUS*, SARS*, MERS, COVID, CORONAVIRUS*) | https://worldwide.espacenet.com/patent/search?q=%28cl%20%3D%20%22B01D61%2F145%2Flow%22%20OR%20cl%20%3D%20%22B01D61%2F147%2Flow%22%29%20AND%20%28ctxt%20any%20%22SEPAR%2A%22%20OR%20ctxt%20any%20%22FILTER%2A%22%20OR%20ctxt%20any%20%22FILTR%2A%22%20OR%20ctxt%20any%20%22TRAP%2A%22%20OR%20ctxt%20any%20%22MEMBRAN%2A%22%20OR%20ctxt%20any%20%22RETAIN%2A%22%20OR%20ctxt%20any%20%22ABSOR%2A%22%29%20AND%20%28ctxt%20any%20%22Coronavir%2A%22%20OR%20ctxt%20any%20%22Covid%2A%22%20OR%20ctxt%20any%20%22vir%2A%22%29
Instruments for taking a cell sample, for biopsy, for vaccination diagnosis |  | CPC: A61B10 and subclasses | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B10%2Flow%22%20AND%20%28ctxt%20%3D%20%22virus%2A%22%20OR%20ctxt%20%3D%20%22viral%22%20OR%20ctxt%20%3D%20%22sars%22%20OR%20ctxt%20%3D%20%22influenza%22%20OR%20ctxt%20%3D%20%22covid%22%20OR%20ctxt%20%3D%20%22nidovir%2A%22%20OR%20ctxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20all%20%22corona%20vir%2A%22%20OR%20ctxt%20all%20%22mers%22%29
Instruments for taking samples of saliva |  | CPC: A61B10/0051 and subclasses | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B10%2F0051%2Flow%22%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20all%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22mers%22%29
Dito, Covid only |  | CPC: A61B10 and subclasses | sars, mers, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B10%2Flow%22%20AND%20%28ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29

## A.2_Sample analysis
Concept A.2: Analysis of the sample by specific devices, PCR equipment, lab-on-a-chip, automator, spectrometry | Description | Classification-based search concepts | Keyword-based search concepts | Sample search in Espacenet
Microfluidics, Lab-on-a-chip, related to coronavirus | This query aims to search for microfluidic devices which are used to detect coronavirus or related analytes. It is not restricted to specific detection techniques. | CPC: B01L3/5027 and subclasses - microfluidics for analysis additionally use: CPC: B01L7/52 and subclasses - thermocycler CPC: B01L3/502792 - digital microfluidics CPC: C12Q1/68 and subclasses - PCR methods | "PCR", "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cl%20%3D%20%22B01L3%2F5027%2Flow%22%20AND%20%28ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22cov%22%29
Microfluidics with thermocycling for PCR, related to RNA or viruses in general | This query is directed towards microfluidic devices which use PCR amplification techniques to enable detection of viral nucleic acids. Not restricted to coronaviruses only. | CPC: B01L3/5027 and subclasses - microfluidics for analysis additionally use: CPC: B01L7/52 and subclasses - thermocycler CPC: B01L3/502792 - digital microfluidics CPC: C12Q1/68 and subclasses - PCR methods | "PCR", "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22B01L3%2F5027%2Flow%22%20AND%20cpc%20%3D%20%22B01L7%2F52%2Flow%22%20AND%20%28ctxt%20any%20%22virus%2A%20RNA%3F%20mRNA%3F%22%20OR%20ctxt%20%3D%20%22Ribonucleic%20acid%2A%22%29
Lateral flow devices, related to RNA or viruses in general | This query is directed to virus detection in lateral flow devices. In B01L the device characteristcs of such lateral flow devices, such as flow control mechanisms, is covered. The aspects of the detection chemistry can be found in the wet diagnostics part. | CPC: B01L3/5023 - lateral flow, i.e. transport through absorbent layer | PCR, "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22b01l3%2F5023%2Flow%22%20AND%20%28ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22RNA%3F%22%20OR%20ftxt%20%3D%20%22mRNA%3F%22%20OR%20ftxt%20%3D%20%22virus%2A%22%29
Lateral flow devices, related to coronavirus | In contrast to query 2b this query restricts the search specifically to coronoviruses. | CPC: B01L3/5023 - lateral flow, i.e. transport through absorbent layer | PCR, "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22b01l3%2F5023%2Flow%22%20AND%20%28ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%29
Multichamber cartridges related to coronavirus | This query is directed to multichamber cartridges used on site or in bench top device which perform multiple sample processing steps in a single cartridge and relate to coronaviruses. | CPC: B01L3/502 - multichamber sample container additionally use: CPC: B01L2200/10 - integrated sample preparation and analysis CPC: B01L7/52 and subclasses - thermocycler | "PCR", "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=%28cpc%20%3D%20%22b01l3%2F502%22%20OR%20cpc%20%3D%20%22b01l3%2F5029%22%20OR%20cpc%20%3D%20%22b01l3%2F5025%2Flow%22%29%20AND%20%28ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%29
PCR sample plates | This query is directed towards sample plates, such as multiwell plates, used in the analysis of virus detection. | CPC: B01L3/50851 - multisample plates for heating and cooling | "PCR", "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22b01l3%2F50851%2Flow%22%20AND%20ftxt%20any%20%22virus%2A%22
Thermocycler for PCR | This query aims to find thermocycler used in PCR amplifications which relate to coronavirus detections. | CPC: B01L7/52 and subclasses - thermocycler | "PCR", "LCR", "TMA", Thermocyc*, "RNA", "DNA", virus, viral, amplific*, nucleic, SARS, MERS, coronavirus, COVID | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22b01l7%2F52%2Flow%22%20AND%20%28ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%29
COMMENT: Make sure to use the new Espacenet search website in advanced mode. For a first overview it is suggested to combine a search strategy based on classes with some very specific keywords in all text fields, e.g. use keywords like coronavirus, SARS, MERS, COVID. Note, that generally for analysis devices specific samples like viruses are rarely mentioned in abstracts or titles and a keyword based search in abstracts will therefore often miss relevant documents. For targeted searches further classification symbols from B01L3/5027/low and B01L7/52/low together with symbols in the range of B01L2200-B01L2400 could be tried. For instance, electrowetting based so called digital microfluidic devices can be found in B01L3/502792 when combined with B01L2400/0427.
INTRODUCTION: Point of care devices come under many different names. The basic idea is that a user can introduce a sample in the field or at home a sample into a small container or device and some or all sample preparation and analysis steps are performed inside said container sometimes with and sometimes without further equipment. The device specific details of such container or devices can be found in CPC classes B01L3/502 or B01L3/00 in IPC. Benchtop devices used with such containers are classified in IPC and CPC in G01N35. Thermocycler are an essential part of PCR devices and are used to cycle the samples through different temperatures to enable nucleic acid amplification. Such thermocyclers are classified in CPC: B01L7/52 or IPC: B01L7/00. Other aspects of PCR devices can be found in specific parts of G01N or C12Q1/68. Generally, for analysis devices specific samples like viruses are rarely mentioned in abstracts or titles and a keyword based search in abstracts will therefore often miss relevant documents. On the other hand using very broad terms like ""RNA"" may lead to too many irrelevant results. Consequently, the example search strategies below are meant as starting points from which a search can be narrowed or widened by using more or less specific keywords.
Apparatus for automated virus analysis | Apparatus suitable for being used in automated virus analysis | CPC/IPC: G01N35/0098: Automatic analysis involving magnetic carrier CPC/IPC: G01N35/02 and subclasses: Automatic analysis using sample containers moved by conveyer system CPC/IPC: G01N35/10 and subclasses: Automatic analysis using devices for transferring samples CPC/IPC: G01N15/10 and subclasses: Investigating individual particles | virus | https://worldwide.espacenet.com/patent/search?q=ftxt%20%3D%20%22virus%22%20AND%20%28cl%20%3D%2Flow%20%22G01N35%2F0098%22%20OR%20cl%20%3D%2Flow%20%22G01N35%2F02%22%20OR%20cl%20%3D%2Flow%20%22G01N35%2F10%22%20OR%20cl%20%3D%2Flow%20%22G01N15%2F10%22%29
Apparatus for automated coronavirus analysis | Apparatus suitable for being used in automated coronavirus analysis | CPC/IPC: G01N35/0098: Automatic analysis involving magnetic carrier CPC/IPC: G01N35/02 and subclasses: Automatic analysis using sample containers moved by conveyer system CPC/IPC: G01N35/10 and subclasses: Automatic analysis using devices for transferring samples CPC/IPC: G01N15/10 and subclasses: Investigating individual particles | coronavirus, orthocoronavirus, betacoronavirus, sarbecovirus, "severe acute respiratory syndrome", sars, covid | https://worldwide.espacenet.com/patent/search?q=%28ftxt%3D%28%22corona%22%20prox%2Fdistance%3C1%20%22vir%2A%22%29%20OR%20ftxt%20any%20%22coronavir%2A%2C%20orthocoronavir%2A%2C%20betacoronavir%2A%2C%20sarbecovir%2A%2C%20sars%2C%20covid%2A%22%20OR%20ftxt%3D%28%22respiratory%22%20prox%2Fdistance%3C1%20%22syndrom%2A%22%29%29%20AND%20%28cl%20%3D%2Flow%20%22G01N35%2F0098%22%20OR%20cl%20%3D%2Flow%20%22G01N35%2F02%22%20OR%20cl%20%3D%2Flow%20%22G01N35%2F10%22%20OR%20cl%20%3D%2Flow%20%22G01N15%2F10%22%29
Analysing materials by using electrodes, transistors, electrophoresis or chromatography |  | IPC/CPC: G01N30 G01N27 B01D15/08 Separating and analysing materials | HPLC,chromatograph*,electrophore*; SARS, MERS, coronavir*, covid, covid19, (corona,respiratory) prox (virus??,syndrome?) | https://worldwide.espacenet.com/patent/search?q=%28%28ctxt%20%3D%20%22HPLC%22%20OR%20ctxt%20%3D%20%22chromatograph%2A%22%20OR%20ctxt%20%3D%20%22electrophore%2A%22%29%20OR%20cl%20%3D%2Flow%20%22G01N30%22%20OR%20cl%20%3D%2Flow%20%22G01N27%2F447%22%20OR%20cl%20%3D%2Flow%20%22B01D15%2F08%22%20OR%20cl%20%3D%2Flow%20%22G01N27%2F327%22%20OR%20cl%20%3D%2Flow%20%22G01N27%2F4145%22%29%20AND%20%28ctxt%3D%28%22respirat%2A%22%20prox%2Fdistance%3C5%20%22syndrome%3F%22%29%20OR%20ctxt%20%3D%20%22SARS%22%20OR%20ctxt%20%3D%20%22MERS%22%20OR%20ctxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22covid%22%20OR%20ctxt%20%3D%20%22covid%3F19%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
COMMENT: These classes contain general purpose analysers, many of which are suitable for detecting corona virus, even if they do not explicitly mention the virus explicitly. By limiting the documents in these classes to documents that explicitly mention the corona virus, a more relevant set of documents can be obtained, but it is not complete.
Direct imaging/detection of viruses |  | CPC: G01N21/6428 CPC: G01N21/6458 CPC: G01N21/648 CPC: G01N21/658 CPC: G01N21/553 CPC: G01N21/49 CPC: G01N21/253 CPC: G01N21/65 CPC: G01N2021/7786 |  | https://worldwide.espacenet.com/patent/search?q=cpc%20any%20%22G01N21%2F6428%2C%20G01N21%2F6458%2C%20G01N21%2F648%2C%20G01N21%2F658%2C%20G01N21%2F553%2C%20G01N21%2F49%2C%20G01N21%2F253%2C%20G01N21%2F65%22%20AND%20ftxt%20any%20%22covid%2A%2Csars%2Cmers%2Cepidem%2A%2Cpandem%2A%2Ccov2%2Ccov%2Ccorona%22

## A.3 Microscopy
Concept A.3: Microscopy | Classification-based search concepts | Keyword-based search concepts | Sample search in Espacenet
Microscopy and their usage relevant for COVID-19 | CPC/IPC: G02B21 and subclasses - Microscopes | in vivo, in vitro, in situ | https://worldwide.espacenet.com/patent/search?q=%28cl%20%3D%20%22G02B21%2Flow%22%20OR%20ctxt%20all%20%22microscop%2A%22%29%20AND%20%28ctxt%20%3D%20%22corona%20vir%2A%22%20OR%20ctxt%20%3D%20%22sars%2A%22%20OR%20ctxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22covid%22%20OR%20ctxt%20%3D%20%22mers%22%20OR%20ctxt%20%3D%20%22merscov%22%20OR%20ctxt%20%3D%20%22procine%22%20OR%20ctxt%20%3D%20%22nedovir%2A%22%29
Fluorescence microscopy relevant for Covid-19 | CPC/IPC: G02B21/16 and subclasses - Fluorescence microscopes | in vivo, in vitro, in situ | https://worldwide.espacenet.com/patent/search?q=%28cl%20%3D%20%22G02B21%2F16%2Flow%22%20OR%20ctxt%20all%20%22microscop%2A%20fluores%2A%22%29%20AND%20%28ctxt%20%3D%20%22corona%20vir%2A%22%20OR%20ctxt%20%3D%20%22sars%2A%22%20OR%20ctxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22covid%22%20OR%20ctxt%20%3D%20%22mers%22%20OR%20ctxt%20%3D%20%22merscov%22%20OR%20ctxt%20%3D%20%22procine%22%20OR%20ctxt%20%3D%20%22nedovir%2A%22%29

## B.1 Imaging on the body
Concept B.1: Imaging, tomography, X-rays, ultrasounds, endoscopy | Classification-based search concepts | Additional keyword-based search concepts | Sample search in Espacenet
Optical coherence tomography (OCT) | CPC: G01B9/02091 - optical coherence tomography (OCT) per se CPC: A61B5/0066 - OCT for medical diagnostics CPC: G06T2207/10101 - OCT image processing CPC: A61B2090/3735 - surgical OCT (CPC: A61B3/102 - ophthalmic OCT) | optical coherence tomography, optical coherence microscopy, optical coherence imaging (e.g. in title and abstract) | https://worldwide.espacenet.com/patent/search?q=%28cpc%20all%20%22A61B5%2F0066%22%20OR%20cpc%20all%20%22G06T2207%2F10101%22%20OR%20cpc%20all%20%22A61B2090%2F3735%22%20OR%20cpc%20all%20%22G01B9%2F02091%22%20OR%20ctxt%3D%28%22coherence%22%20prox%2Fdistance%3C%3D1%20%22tomography%22%29%29%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
OCT, cardiovascular |  | in vivo | https://worldwide.espacenet.com/patent/search?q=%28cpc%20all%20%22A61B5%2F0066%22%20OR%20cpc%20all%20%22G06T2207%2F10101%22%20OR%20cpc%20all%20%22A61B2090%2F3735%22%20OR%20cpc%20all%20%22G01B9%2F02091%22%20OR%20ctxt%3D%28%22coherence%22%20prox%2Fdistance%3C%3D1%20%22tomography%22%29%29%20AND%20%28ctxt%20all%20%22cardio%2A%22%20OR%20ctxt%20all%20%22cardiac%22%20OR%20ctxt%20all%20%22intravasc%2A%22%20OR%20ctxt%20all%20%22heart%22%20OR%20ctxt%20all%20%22arter%2A%22%20OR%20ctxt%20all%20%22vein%2A%22%20OR%20ctxt%20all%20%22intraarticul%2A%22%20OR%20ctxt%20all%20%22intravein%2A%22%29
OCT, of the respiratory tract |  | in vivo | https://worldwide.espacenet.com/patent/search?q=%28cpc%20all%20%22A61B5%2F0066%22%20OR%20cpc%20all%20%22G06T2207%2F10101%22%20OR%20cpc%20all%20%22A61B2090%2F3735%22%20OR%20cpc%20all%20%22G01B9%2F02091%22%20OR%20ctxt%3D%28%22coherence%22%20prox%2Fdistance%3C%3D1%20%22tomography%22%29%29%20AND%20%28ctxt%20all%20%22lung%2A%22%20OR%20ctxt%20all%20%22bronch%2A%22%20OR%20ctxt%20all%20%22respir%2A%22%20OR%20ctxt%20all%20%22pneumoni%2A%22%20OR%20ctxt%20all%20%22pulmo%2A%22%20OR%20ctxt%20all%20%22trach%2A%22%29
OCT, virus-related |  | infectious, infection, pathogen | https://worldwide.espacenet.com/patent/search?q=%28cpc%20all%20%22A61B5%2F0066%22%20OR%20cpc%20all%20%22G06T2207%2F10101%22%20OR%20cpc%20all%20%22A61B2090%2F3735%22%20OR%20cpc%20all%20%22G01B9%2F02091%22%20OR%20ctxt%3D%28%22coherence%22%20prox%2Fdistance%3C%3D1%20%22tomography%22%29%29%20AND%20%28ftxt%20any%20%22virus%2A%20viral%20sars%20mers%20influenza%20covid%20nidovir%2A%20coronavir%2A%22%20OR%20ftxt%3D%28%22acute%22%20prox%2Fdistance%3C%3D1%20%22respiratory%22%29%29
Apparatus for radiation diagnosis - Cardiovascular | CPC: A61B6 and subclasses |  | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B6%2Flow%22%20AND%20%28ctxt%20%3D%20%22cardio%2A%22%20OR%20ctxt%20%3D%20%22cardiac%22%20OR%20ctxt%20%3D%20%22intravasc%2A%22%20OR%20ctxt%20%3D%20%22heart%22%20OR%20ctxt%20%3D%20%22arter%2A%22%20OR%20ctxt%20%3D%20%22vein%2A%22%20OR%20ctxt%20%3D%20%22intraarticul%2A%22%20OR%20ctxt%20%3D%20%22intravein%2A%22%29%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Apparatus for radiation diagnosis - Of the respiratory tract | CPC: A61B6 and subclasses | lung, bronchis, pneumoni, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B6%2Flow%22%20AND%20%28ctxt%20all%20%22lung%2A%22%20OR%20ctxt%20all%20%22bronch%2A%22%20OR%20ctxt%20all%20%22respir%2A%22%20OR%20ctxt%20all%20%22pneumoni%2A%22%20OR%20ctxt%20all%20%22pulmo%2A%22%20OR%20ctxt%20all%20%22trach%2A%22%29%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Apparatus for radiation diagnostics - Virus-related | CPC: A61B6 and subclasses | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%2Flow%20%22A61B6%22%20AND%20%28ftxt%20any%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%3D%28%22acute%22%20prox%2Fdistance%3C%3D1%20%22respiratory%22%29%29
Apparatus for radiation diagnostics - Coronavirus-specific | CPC/IPC: A61B6 and subclasses |  | https://worldwide.espacenet.com/patent/search?q=cl%20%3D%20%22A61B6%2Flow%22%20AND%20%28ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
Diagnosis using ultrasonic, sonic or infrasonic waves - Cardiovascular | CPC: A61B8 and subclasses | cario, cardiac, intravascular, intraarterial, vein, heart | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B8%2Flow%22%20AND%20%28ctxt%20%3D%20%22cardio%2A%22%20OR%20ctxt%20%3D%20%22cardiac%22%20OR%20ctxt%20%3D%20%22intravasc%2A%22%20OR%20ctxt%20%3D%20%22heart%22%20OR%20ctxt%20%3D%20%22arter%2A%22%20OR%20ctxt%20%3D%20%22vein%2A%22%20OR%20ctxt%20%3D%20%22intraarticul%2A%22%20OR%20ctxt%20%3D%20%22intravein%2A%22%20OR%20ctxt%20%3D%20%22intra%20articul%2A%22%29%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Diagnosis using ultrasonic, sonic or infrasonic waves - Of the respiratory tract | CPC: A61B8 and subclasses | lung, bronchis, pneumonia, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B8%2Flow%22%20AND%20%28ta%20%3D%20%22lung%2A%22%20OR%20ta%20%3D%20%22bronch%2A%22%20OR%20ta%20%3D%20%22respir%2A%22%20OR%20ta%20%3D%20%22pneumoni%2A%22%20OR%20ta%20%3D%20%22pulmo%2A%22%20OR%20ta%20%3D%20%22trach%2A%22%29
Diagnosis using ultrasonic, sonic or infrasonic waves - Virus-related | CPC: A61B8 and subclasses | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B8%2Flow%22%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
Diagnosis using ultrasonic, sonic or infrasonic waves - Coronavirus-specific | CPC: A61B8 and subclasses |  | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B8%2Flow%22%20AND%20%28ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
Endoscopy for the respiratory tract | CPC: A61B1 and subclasses - Instruments for performing medical examinations of the interior of cavities or tubes of the body by visual or photographical inspection related to the respiratory tract | lung, bronchis, pneumoni, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B1%2Flow%22%20AND%20%28ta%20all%20%22lung%2A%22%20OR%20ta%20all%20%22bronch%2A%22%20OR%20ta%20all%20%22respir%2A%22%20OR%20ta%20all%20%22pneumoni%2A%22%20OR%20ta%20all%20%22pulmo%2A%22%20OR%20ta%20all%20%22trach%2A%22%29
Bronchoscopy | CPC: A61B1/2676 | lung, bronchis, pneumonia, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B1%2F2676%2Flow%22%20AND%20%28ctxt%20all%20%22lung%2A%22%20OR%20ctxt%20all%20%22bronch%2A%22%20OR%20ctxt%20all%20%22respir%2A%22%20OR%20ctxt%20all%20%22pneumoni%2A%22%20OR%20ctxt%20all%20%22pulmo%2A%22%20OR%20ctxt%20all%20%22trach%2A%22%29
Bronchoscopy - Virus-related | CPC: A61b1/2676 | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B1%2F2676%2Flow%22%20AND%20%28ftxt%3D%28%22acute%22%20prox%2Fdistance%3C%3D1%20%22respiratory%22%29%20OR%20ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Endoscopy for the upper alimentary canal - Virus-related | CPC: A61B1/273 | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B1%2F273%2Flow%22%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Endoscopy for the rectum - Virus-related | CPC: A61B1/31 | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B1%2F31%2Flow%22%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22corona%20vir%2A%22%29
Endoscopy relevant for Covid-19 | CPC/IPC: G02B23/24 and subclasses - Instruments and systems for viewing the inside of hollow bodies CPC/IPC: G03B15/14 and subclasses - tracking photographs during medical operations Further relevant classes for endoscopes CPC/IPC: A61B1 and subclasses CPC/IPC: H04N2005/2255 CPC/IPC: G03B37/005 and subclasses |  | https://worldwide.espacenet.com/patent/search?f=cpc_cpci_main%3Ain%3DA61K9&q=%28cl%20%3D%2Flow%20%22G02B23%2F24%22%20OR%20cl%20%3D%2Flow%20%22G03B37%22%20OR%20cl%20%3D%2Flow%20%22G03B15%2F14%22%20OR%20ctxt%20any%20%22endoscop%2A%22%29%20AND%20%28ctxt%20%3D%20%22corona%20vir%2A%22%20OR%20ctxt%20%3D%20%22sars%2A%22%20OR%20ctxt%20%3D%20%22coronavir%2A%22%20OR%20ctxt%20%3D%20%22covid%22%20OR%20ctxt%20%3D%20%22mers%22%20OR%20ctxt%20%3D%20%22merscov%22%20OR%20ctxt%20%3D%20%22procine%22%20OR%20ctxt%20%3D%20%22nedovir%2A%22%29

## B.2 Auscultation and measurem
Concept B.2: Auscultation and measurement on the patient, Medical diagnostics devices (oximeters, sense of smell, temperature sensors) | Classification-based search concepts | Keyword-based search concepts | Sample search in Espacenet
Instruments for auscultation | CPC: A61B7 and subclasses - Instruments for auscultation - related to the respiratory tract (general) | lung, bronchis, pneumoni, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20all%20%22A61B7%22%20AND%20%28ta%20all%20%22lung%2A%22%20OR%20ta%20all%20%22bronch%2A%22%20OR%20ta%20all%20%22respir%2A%22%20OR%20ta%20all%20%22pneumoni%2A%22%20OR%20ta%20all%20%22pulmo%2A%22%20OR%20ta%20all%20%22trach%2A%22%29
Instruments for auscultation - Lung or respiration noise | CPC: A61B7/003 | lung, bronchis, pneumoni, pulmonary | https://worldwide.espacenet.com/patent/search?q=cpc%20all%20%22A61B7%2F003%22%20AND%20%28ctxt%20all%20%22lung%2A%22%20OR%20ctxt%20all%20%22bronch%2A%22%20OR%20ctxt%20all%20%22respir%2A%22%20OR%20ctxt%20all%20%22pneumoni%2A%22%20OR%20ctxt%20all%20%22pulmo%2A%22%20OR%20ctxt%20all%20%22trach%2A%22%29
Instruments for auscultation - Virus-related | CPC: A61B7/003 | virus, viral, sars, mers, influenza, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B7%2F003%22%20AND%20%28ftxt%20%3D%20%22virus%2A%22%20OR%20ftxt%20%3D%20%22viral%22%20OR%20ftxt%20%3D%20%22sars%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22influenza%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%20OR%20ftxt%20%3D%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
Instruments for auscultation: Covid only | CPC: A61B7/003 | sars, mers, covid, nidovir, coronavir | https://worldwide.espacenet.com/patent/search/family/037581790/publication/CN100435738C?q=%28cpc%20all%20%22A61B7%2F003%22%20OR%20ipc%20%3D%20%22A61B7%2F00%2Flow%22%29%20AND%20%28ftxt%20any%20%22sars%22%20OR%20ftxt%20any%20%22mers%22%20OR%20ftxt%20any%20%22covid%22%20OR%20ftxt%20any%20%22nidovir%2A%22%20OR%20ftxt%20any%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%29
Oxymetry in context of viruses |  | Sp[O,0]2, Sa[O,0]s, Sv[O,0]2, oxygen saturation, hypoxia, oximet??? (oximeter(s), oximetry) virus??, viral??? | https://worldwide.espacenet.com/patent/search?q=%28%28cpc%20%3D%20%22A61B5%2F14542%22%20OR%20cpc%20%3D%20%22A61B5%2F14551%2Flow%22%29%20OR%20%28cl%20%3D%20%22A61B5%2Flow%22%20AND%20%28ctxt%20any%20%22SpO2%22%20OR%20ctxt%20any%20%22hypoxia%22%20OR%20ctxt%20any%20%22oximet%23%23%3F%22%20OR%20ctxt%20all%20%22oxygen%20saturation%22%29%29%29%20AND%20%28ctxt%20any%20%22virus%2A%22%20OR%20ctxt%20any%20%22viral%2A%22%29&queryLang=en%3Ade%3Afr
Optical temperature sensor in context of viruses |  |  | https://worldwide.espacenet.com/patent/search?f=ipc_main%3Aex%3DC12Q1%2CC12M1&q=%28ctxt%20any%20%22thermometer%3F%22%20OR%20ctxt%3D%28%22temperature%22%20prox%2Fdistance%3C3%20%22sens%2A%22%29%20OR%20%28cpc%20%3D%2Flow%20%22A61B5%2F01%22%20OR%20cpc%20%3D%2Flow%20%22A61B5%2F02055%22%20OR%20cpc%20%3D%2Flow%20%22A61B5%2F0008%22%20OR%20cpc%20%3D%2Flow%20%22A61B2562%2F0271%22%29%29%20AND%20%28ctxt%20any%20%22virus%2A%22%20OR%20ctxt%20any%20%22viral%2A%22%29%20AND%20%28ctxt%3D%28%22optical%22%20prox%2Fdistance%3C3%20%22detect%2A%22%29%20OR%20ctxt%3D%28%22optical%22%20prox%2Fdistance%3C3%20%22sens%2A%22%29%20OR%20ftxt%3D%28%22optical%22%20prox%2Fdistance%3C3%20%22measur%2A%22%29%29
Cough detection in context of viruses |  |  | https://worldwide.espacenet.com/patent/search?q=%28ftxt%20any%20%22viral%2A%22%20OR%20ftxt%20any%20%22virus%2A%22%29%20AND%20%28cpc%20%3D%20%22A61B5%2F0823%2Flow%22%20OR%20ta%3D%28%22cough%2A%22%20prox%2Fdistance%3C3%20%22detect%2A%22%29%29&queryLang=en%3Ade%3Afr
Sense of smell in context of viruses |  |  | https://worldwide.espacenet.com/patent/search?q=%28cpc%20%3D%20%22A61B5%2F04847%22%20OR%20cpc%20%3D%20%22A61B5%2F4011%22%20OR%20ctxt%3D%28%22olfact%2A%20%22%20prox%2Funit%3Dsentence%20%22%28loss%2C%20impair%2A%29%22%29%20OR%20ctxt%20%3D%20%22anosmia%22%29%20AND%20%28ctxt%20%3D%20%22virus%2A%22%20OR%20ctxt%20%3D%20%22viral%2A%22%29&queryLang=en%3Ade%3Afr
Fatigue in context of viruses |  |  | https://worldwide.espacenet.com/patent/search?q=%28cpc%20%3D%20%22A61B5%2F1118%22%20OR%20ipc%20%3D%20%22A61B5%2F11%22%29%20AND%20%28ctxt%20all%20%22fatigue%22%20OR%20ctxt%20any%20%22exhaust%2A%22%20OR%20ftxt%20any%20%22tired%2A%22%29%20AND%20%28ftxt%20any%20%22virus%2A%22%20OR%20ftxt%20any%20%22viral%2A%22%29
Sense of taste in context of viruses | CPC: A61B5/4017 |  | https://worldwide.espacenet.com/patent/search?q=%28cpc%20any%20%22A61B5%2F4017%22%20OR%20ctxt%3D%28%22taste%20%22%20prox%2Funit%3Dsentence%20%22%28loss%2C%20impair%2A%29%22%29%20OR%20ctxt%20any%20%22ageusia%22%29%20AND%20%28ctxt%20%3D%20%22virus%3F%3F%22%20OR%20ctxt%20%3D%20%22viral%3F%3F%22%29&queryLang=en%3Ade%3Afr
Remote monitoring for cough detection |  |  | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%2Flow%20%22A61B5%2F0002%22%20AND%20%28cpc%20%3D%2Flow%20%22A61B5%2F0823%22%20OR%20ctxt%3D%28%22cough%2A%22%20prox%2Fdistance%3C3%20%22detect%2A%22%29%29&queryLang=en%3Ade%3Afr
Remote monitoring for temperature sensing, in context of epidemics |  |  | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%2Flow%20%22A61B5%2F0002%22%20AND%20%28cpc%20%3D%2Flow%20%22G16H50%2F80%22%20OR%20%28ftxt%20any%20%22epidemi%2A%22%20OR%20ftxt%20any%20%22pandemic%2A%22%29%29%20AND%20%28ctxt%20any%20%22thermometer%3F%22%20OR%20ctxt%3D%28%22temperature%22%20prox%2Fdistance%3C3%20%22sens%2A%22%29%20OR%20%28cpc%20%3D%20%22A61B5%2F01%2Flow%22%20OR%20cpc%20%3D%20%22A61B5%2F02055%22%20OR%20cpc%20%3D%20%22A61B5%2F0008%22%20OR%20cpc%20%3D%20%22A61B2562%2F0271%22%29%29
Remote monitoring for oximetry |  |  | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B5%2F002%2Flow%22%20AND%20%28%28cpc%20%3D%20%22A61B5%2F14542%22%20OR%20cpc%20%3D%20%22A61B5%2F14551%2Flow%22%29%20OR%20%28cl%20%3D%2Flow%20%22A61B5%22%20AND%20%28ctxt%20any%20%22SpO2%22%20OR%20ctxt%20any%20%22hypoxia%22%20OR%20ctxt%20any%20%22oximet%2A%22%20OR%20ctxt%20all%20%22oxygen%20saturation%22%29%29%29&queryLang=en%3Ade%3Afr
COMMENT: A61B5 is organised in multiple orthogonal information vectors. The philosophy is to combine concepts from different vectors, and eventually finetune the results using keywords. A few examples with Espacenent search statements are provided at the bottom of this sheet, as well as for some of the basic concepts
cough detection | CPC: A61B5/0823 | detect??? 2d cough??? | https://worldwide.espacenet.com/patent/search?q=%28cpc%20%3D%20%22A61B5%2F0823%2Flow%22%20OR%20ta%3D%28%22cough%2A%22%20prox%2Fdistance%3C3%20%22detect%2A%22%29%29%20AND%20%28ctxt%20any%20%22viral%2A%22%20OR%20ctxt%20any%20%22virus%2A%22%29&queryLang=en%3Ade%3Afr
smell (loss of) | CPC: A61B5/4011 CPC: A61B5/04847 | olfact*, sens of smell, anosmia | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%20%22A61B5%2F04847%22%20OR%20cpc%20%3D%20%22A61B5%2F4011%22%20OR%20ctxt%3D%28%22olfact%2A%20%22%20prox%2Funit%3Dsentence%20%22loss%22%29%20OR%20ctxt%3D%28%22olfact%2A%20%22%20prox%2Funit%3Dsentence%20%22impair%2A%22%29%20OR%20ctxt%20any%20%22anosmia%22&queryLang=en%3Ade%3Afr
COMMENT: The following queries provide an overview of contactless temperature measurement methods/devices, which can be applied for mass screening in combination with imaging techniques to detect elevated body temperature or contactless temperature measurement devices like ear thermometers for use with individuals
Non-contact measurements of moving (living) bodies applied to mass screening at airports or for detection of virus related fever | CPC/IPC: G01J5/0025 | locations, where the measurement is to be applied like trains station, bublic buildings, customs....; particular techniques (thermographic imaging, combined imaging/point measurements etc.); specific technical details of the devices (combination with other classes in G01J5) | https://worldwide.espacenet.com/patent/search?q=cl%20%3D%20%22G01j5%2F0025%2Flow%22%20AND%20%28ftxt%20%3D%20%22sars%2A%22%20OR%20ftxt%20%3D%20%22screening%22%20OR%20ftxt%20any%20%22airport%2A%22%20OR%20ftxt%20any%20%22coronavir%2A%22%20OR%20ftxt%20%3D%20%22corona%20vir%2A%22%20OR%20ftxt%20%3D%20%22covid%22%20OR%20ftxt%20%3D%20%22mers%22%20OR%20ftxt%20%3D%20%22merscov%22%20OR%20ftxt%20%3D%20%22procine%22%20OR%20ftxt%20%3D%20%22nidovir%2A%22%29
Temperature measurements on the skin or forehead based on radiant heat transfer | CPC/IPC: G01J5/0011 | searches for technical details concerning accuracy, speed of measurement, corrections for environmental influences etc | https://worldwide.espacenet.com/patent/search?q=cl%20%3D%20%22G01j5%2F0011%2Flow%22%20AND%20%28ftxt%20any%20%22forehead%22%20OR%20ftxt%20any%20%22skin%22%29

## C. Image processing for...
Concept C: Computer implemented analysis of the images obtained by microscopy or on the body; image processing and generation | Classification-based search concepts | Keyword-based search concepts | Sample search in Espacenet
Recognition of viruses in microscopic images | CPC: G06K9/00127 - Acquiring an recognising microscopic objects, e.g. biological cells and cellular parts | viral, virus, “artificial intelligence”, “machine learning”, “neural network” | https://worldwide.espacenet.com/patent/search?f=cpc_cpci_main%3Aex%3DG06F21&q=cpc%20%3D%20%22g06k9%2F00127%2Flow%22%20AND%20%28ftxt%20any%20%22virus%2A%20viral%22%20AND%20%28ftxt%3D%28%22artif%2A%22%20prox%2Fdistance%3C1%20%22intel%2A%22%29%20OR%20ftxt%3D%28%22machin%2A%22%20prox%2Fdistance%3C1%20%22learn%2A%22%29%20OR%20ftxt%3D%28%22neural%2A%22%20prox%2Fdistance%3C1%20%22netw%2A%22%29%29%29
Recognition of patterns in medical or anatomical images of lungs | CPC: G06K2209/051 - Recognition of patterns in medical or anatomical images of internal organs | lung, pneumonia | https://worldwide.espacenet.com/patent/search?q=cpc%20%3D%2Flow%20%22G06K2209%2F051%22%20AND%20%28ftxt%20%3D%20%22lung%2A%22%20OR%20ftxt%20%3D%20%22pneu%2A%22%29
Pulmonary computer tomography for diagnosis of infection | CPC: G06T2207/30061 - Biomedical image processing relating to the lung CPC: G06T2207/10072 - Tomographic images | pneumonia, thorax, lung, airways, respiratory, bacteria, infection, inflammation, viral, virus | https://worldwide.espacenet.com/patent/search?q=%28%28cpc%20%3D%2Flow%20%22G06T2207%2F30061%22%20AND%20cpc%20%3D%2Flow%20%22G06T2207%2F10072%22%29%20OR%20cl%20%3D%2Flow%20%22G06T11%2F003%22%29%20AND%20ftxt%20any%20%22pneumon%2A%20thorax%2A%20lung%3F%20airway%20respiratory%22%20AND%20ftxt%20any%20%22infect%2A%20virus%2A%20viral%20bacter%2A%20inflamm%2A%22